{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["設計書","内訳明細"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":6,"defined_names":357,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"設計書","index":0,"n_rows":30,"n_cols":16,"rows_kept":30,"cut":false,"hidden":false,"merged":[[5,2,6,3],[7,2,8,3],[27,11,28,13],[27,14,28,15],[29,11,30,13],[29,14,30,15],[16,11,16,15],[17,11,17,15],[18,11,18,15],[19,11,19,15],[0,1,1,15],[5,1,6,1],[5,4,8,4],[5,5,8,5],[5,6,8,6],[5,7,8,7],[5,8,8,8],[5,9,8,9],[5,10,8,10],[5,11,8,11],[5,12,8,12],[5,13,5,15],[6,13,6,15],[7,1,8,1],[7,13,8,14],[7,15,8,15],[9,1,10,1],[9,2,10,10],[9,11,10,12],[9,13,10,15],[11,1,15,1],[11,2,15,10],[11,11,11,15],[12,11,12,15],[13,11,13,15],[14,11,14,15],[15,11,15,15],[27,1,30,1],[27,2,30,10],[20,11,20,15],[24,1,26,1],[24,2,26,10],[24,11,24,15],[25,11,25,15],[26,11,26,15],[21,1,23,1],[21,2,23,7],[21,8,23,10],[21,11,21,15],[22,11,22,15],[23,11,23,15],[16,1,20,1],[16,2,20,10]]}
[null,"設　　 計 　　書"]
[]
[]
[]
[]
[null,"工種","他　　　　　工",null," ","課長"," ","副参事"," ","副参事"," ","担当リーダー","　","　設計担当者　"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"内線（　　　　　）"]
[null,"工事番号","第 　２４　 号",null,null,null,null,null,null,null,null,null,null,null,null,"印"]
[]
[null,"年度","令和 ２ 年度",null,null,null,null,null,null,null,null,"作成年月日",null,"  令和 　２ 年 　６　 月 　２２　日  　"]
[]
[null,"工事名","港北児童センター屋根および外壁改修工事",null,null,null,null,null,null,null,null,"工 事 概 要"]
[]
[null,null,null,null,null,null,null,null,null,null,null,"　Ａ　屋根改修工事"]
[null,null,null,null,null,null,null,null,null,null,null,"　　　遊戯室棟：既存鋼板屋根カバー工法改修"]
[null,null,null,null,null,null,null,null,null,null,null,"　　　ホール事務室棟：既存鋼板屋根葺替え改修"]
[null,"施工位置","秋田市土崎港北四丁目６番１号"]
[null,null,null,null,null,null,null,null,null,null,null,"　Ｂ　外壁改修工事"]
[null,null,null,null,null,null,null,null,null,null,null,"　　　・既存外壁材張り替え改修"]
[]
[]
[null,"設計金額"]
[]
[]
[null,"財源区分","（国　補）　 ・ 　県　補　 ・ 　市　単"]
[]
[]
[null,"施工期日","令　和　　２　年 　１１　 月 　３０　 日　ま　で",null,null,null,null,null,null,null,null,"主任監督員（職名）氏　名",null,null,"（ 　　　 ）　"]
[]
[null,null,null,null,null,null,null,null,null,null,null,"工事監督員（職名）氏　名",null,null,"（ 　　　 ）　"]

{"sheet":"内訳明細","index":1,"n_rows":318,"n_cols":11,"rows_kept":318,"cut":false,"hidden":false,"merged":[[124,1,124,2],[283,1,283,2],[284,1,284,2],[285,1,285,2],[271,1,271,2],[272,1,272,2],[267,1,267,2],[268,1,268,2],[262,1,262,2],[263,1,263,2],[274,1,274,2],[275,1,275,2],[276,1,276,2],[277,1,277,2],[278,1,278,2],[279,1,279,2],[280,1,280,2],[281,1,281,2],[282,1,282,2],[177,1,177,2],[178,1,178,2],[179,1,179,2],[180,1,180,2],[181,1,181,2],[182,1,182,2],[183,1,183,2],[184,1,184,2],[213,1,213,2],[198,1,198,2],[201,1,201,2],[202,1,202,2],[203,1,203,2],[168,1,168,2],[169,1,169,2],[170,1,170,2],[171,1,171,2],[172,1,172,2],[173,1,173,2],[174,1,174,2],[175,1,175,2],[176,1,176,2],[223,1,223,2],[224,1,224,2],[222,1,222,2],[230,1,230,2],[225,1,225,2],[226,1,226,2],[227,1,227,2],[228,1,228,2],[229,1,229,2],[231,1,231,2],[232,1,232,2],[233,1,233,2],[234,1,234,2],[235,1,235,2],[185,1,185,2],[186,1,186,2],[187,1,187,2],[214,1,214,2],[215,1,215,2],[216,1,216,2],[217,1,217,2],[218,1,218,2],[219,1,219,2],[205,1,205,2],[206,1,206,2],[207,1,207,2],[208,1,208,2],[209,1,209,2],[210,1,210,2],[211,1,211,2],[212,1,212,2],[199,1,199,2],[200,1,200,2],[295,1,295,2],[296,1,296,2],[297,1,297,2],[298,1,298,2],[299,1,299,2],[300,1,300,2],[301,1,301,2],[286,1,286,2],[287,1,287,2],[288,1,288,2],[292,1,292,2],[291,1,291,2],[254,1,254,2],[255,1,255,2],[256,1,256,2],[259,1,259,2],[260,1,260,2],[264,1,264,2],[265,1,265,2],[273,1,273,2],[269,1,269,2],[261,1,261,2],[266,1,266,2],[270,1,270,2],[257,1,257,2],[258,1,258,2],[243,1,243,2],[236,1,236,2],[237,1,237,2],[238,1,238,2],[239,1,239,2],[240,1,240,2],[241,1,241,2],[242,1,242,2],[165,1,165,2],[166,1,166,2],[167,1,167,2],[204,1,204,2],[192,1,192,2],[193,1,193,2],[194,1,194,2],[195,1,195,2],[196,1,196,2],[197,1,197,2],[188,1,188,2],[189,1,189,2],[190,1,190,2],[191,1,191,2],[220,1,220,2],[221,1,221,2],[162,1,162,2],[163,1,163,2],[164,1,164,2],[156,1,156,2],[157,1,157,2],[158,1,158,2],[159,1,159,2],[154,1,154,2],[155,1,155,2],[139,1,139,2],[140,1,140,2],[148,1,148,2],[149,1,149,2],[141,1,141,2],[150,1,150,2],[151,1,151,2],[160,1,160,2],[161,1,161,2],[152,1,152,2],[153,1,153,2],[103,1,103,2],[65,1,65,2],[127,1,127,2],[128,1,128,2],[112,1,112,2],[129,1,129,2],[114,1,114,2],[115,1,115,2],[116,1,116,2],[118,1,118,2],[119,1,119,2],[120,1,120,2],[117,1,117,2],[113,1,113,2],[125,1,125,2],[122,1,122,2],[126,1,126,2],[102,1,102,2],[104,1,104,2],[101,1,101,2],[100,1,100,2],[96,1,96,2],[97,1,97,2],[98,1,98,2],[77,1,77,2],[85,1,85,2],[87,1,87,2],[89,1,89,2],[94,1,94,2],[95,1,95,2],[69,1,69,2],[70,1,70,2],[83,1,83,2],[71,1,71,2],[79,1,79,2],[80,1,80,2],[91,1,91,2],[84,1,84,2],[81,1,81,2],[86,1,86,2],[76,1,76,2],[92,1,92,2],[93,1,93,2],[317,1,317,2],[303,1,303,2],[309,1,309,2],[310,1,310,2],[311,1,311,2],[312,1,312,2],[314,1,314,2],[315,1,315,2],[316,1,316,2],[304,1,304,2],[305,1,305,2],[306,1,306,2],[307,1,307,2],[308,1,308,2],[313,1,313,2],[302,1,302,2],[123,1,123,2],[108,1,108,2],[107,1,107,2],[109,1,109,2],[105,1,105,2],[106,1,106,2],[130,1,130,2],[111,1,111,2],[110,1,110,2],[131,1,131,2],[132,1,132,2],[133,1,133,2],[134,1,134,2],[135,1,135,2],[142,1,142,2],[143,1,143,2],[144,1,144,2],[137,1,137,2],[145,1,145,2],[146,1,146,2],[147,1,147,2],[136,1,136,2],[138,1,138,2],[0,0,0,10],[1,4,2,6],[1,7,2,7],[48,1,48,2],[49,1,49,2],[50,1,50,2],[32,1,32,2],[12,1,12,2],[37,1,37,2],[1,8,2,8],[1,9,2,9],[1,10,2,10],[36,1,36,2],[38,1,38,2],[19,1,19,2],[20,1,20,2],[29,1,29,2],[30,1,30,2],[31,1,31,2],[15,1,15,2],[43,1,43,2],[44,1,44,2],[16,1,16,2],[17,1,17,2],[64,1,64,2],[57,1,57,2],[1,0,2,0],[1,1,2,1],[1,2,2,2],[34,1,34,2],[11,1,11,2],[18,1,18,2],[13,1,13,2],[14,1,14,2],[6,1,6,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,1,10,2],[3,0,3,2],[4,1,4,2],[5,1,5,2],[28,1,28,2],[21,1,21,2],[22,1,22,2],[23,1,23,2],[24,1,24,2],[25,1,25,2],[52,1,52,2],[53,1,53,2],[54,1,54,2],[61,1,61,2],[59,1,59,2],[56,1,56,2],[42,1,42,2],[55,1,55,2],[27,1,27,2],[99,1,99,2],[74,1,74,2],[75,1,75,2],[1,3,2,3],[90,1,90,2],[33,1,33,2],[47,1,47,2],[78,1,78,2],[60,1,60,2],[62,1,62,2],[63,1,63,2],[35,1,35,2],[88,1,88,2],[82,1,82,2],[68,1,68,2],[66,1,66,2],[73,1,73,2],[72,1,72,2],[67,1,67,2],[39,1,39,2],[41,1,41,2],[45,1,45,2],[46,1,46,2],[51,1,51,2]]}
[]
["名　　            　称","品　種","形　状 ・ 寸　法","員数入力","員　       数",null,null,"単位","単　   価　(円)","金　  額　(円)","備　　      　考"]
[]
[{"$f":"設計書!$C$12","v":"港北児童センター屋根および外壁改修工事"}]
["Ⅰ　直接工事",null,null,1,{"$f":"IF(D5=\"\",\"\",TRUNC(D5,0))","v":1},".",{"$f":"IF(D5=\"\",\"\",IF(D5>=100,\"--\",IF(OR(H5=\"式\",H5=\"ヶ所\",H5=\"個\",H5=\"枚\",H5=\"日\",H5=\"本\",H5=\"台\",H5=\"ｍ\",H5=\"組\",H5=\"基\",H5=\"面\",H5=\"箇所\"),\"--\",ROUND((D5-E5)*10,0))))","v":"--"},"式"]
["直接工事費",null,null,null,"","",""]
["Ⅱ　共通仮設工事",null,null,1,1,".","--","式"]
["純工事費",null,null,null,"","",""]
["Ⅲ　現場管理費",null,null,1,1,".","--","式"]
["工事原価",null,null,null,"","",""]
["Ⅳ　一般管理費等",null,null,1,1,".","--","式"]
["Ⅴ　各種負担金等","産廃税相当額",null,1,1,".","--","式"]
["工事価格",null,null,null,"","",""]
["Ⅵ　消費税相当額",0.1,null,1,1,".","--","式"]
["工事費",null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[{"$f":"A5","v":"Ⅰ　直接工事"},"仕　　訳",null,null,"","",""]
[{"$f":"A34","v":"１　直接仮設工事"},null,null,1,1,".","--","式"]
[{"$f":"A49","v":"２　解体撤去工事"},null,null,1,1,".","--","式"]
[{"$f":"A79","v":"３　屋根改修工事"},null,null,1,1,".","--","式"]
[{"$f":"A109","v":"４　外壁改修工事"},null,null,1,1,".","--","式"]
[{"$f":"A124","v":"５　鉄骨工事"},null,null,1,1,".","--","式"]
[{"$f":"A139","v":"６　塗装改修工事"},null,null,1,1,".","--","式"]
[{"$f":"A154","v":"７　その他工事"},null,null,1,1,".","--","式"]
[{"$f":"A169","v":"８　機械設備工事"},null,null,1,1,".","--","式"]
[{"$f":"A199","v":"９　都市ガス設備工事"},null,null,1,1,".","--","式"]
[{"$f":"A244","v":"１０　電気設備工事"},null,null,1,1,".","--","式"]
[{"$f":"A259","v":"１１　発生材処分費"},null,null,1,1,".","--","式"]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
["Ⅰ －計",null,null,null,"","",""]
["１　直接仮設工事","仕　　訳",null,null,"","",""]
["外部足場","くさび緊結式足場 W=600\n手すり先行型　２ヶ月程度",null,534.44000000000005,534,".","--","㎡",null,null,"運搬費共"]
["屋根上足場","〃　盛り替え含む",null,85,85,".",0,"㎡",null,null,"〃"]
["　〃　　　ネット状シート養生","２ヶ月程度",null,534.44000000000005,534,".","--","㎡",null,null,"〃"]
["内部足場","脚立足場程度　フィルム貼用共",null,1,1,".","--","式",null,null,"〃"]
["出入口開口部養生（3方）","H1.8m×W1.8m×D1.2m程度\nコンパネ養生程度",null,1,1,".",0,"カ所",null,null,"〃"]
["養生整理清掃後片付費",null,null,1,1,".","--","式"]
[null,null,null,null,"",null,""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"",null,""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
["１ －計",null,null,null,"","",""]
["２　解体撤去工事","仕　　訳",null,null,"","",""]
["（屋根）",null,null,null,"","",""]
["唐草撤去","カラー鉄板包み　t=0.4",null,112.2,112,".","--","m"]
["棟押さえ撤去","〃",null,17.2,17,".",2,"m"]
["谷納め撤去","〃",null,11.2,11,".",2,"m"]
["雨押さえ撤去","〃",null,32,32,".",0,"m"]
["破風板・鼻隠し撤去","〃",null,112.2,112,".","--","m"]
["雨樋撤去","塩ビ製　半丸105　\n金具共　縦樋含む",null,17.600000000000001,17,".",6,"m"]
["雪止め撤去","富士型",null,9,9,".","--","ヶ所"]
["屋根葺き材撤去","カラーベストコロニアル\nアスベスト含有建材",null,56.2,56,".",2,"㎡",null,null,"レベル３の養生、作業衣等含む"]
["〃","カラー鉄板立平葺き　t=0.4",null,165,165,".","--","㎡"]
["（外壁）",null,null,null,"","",""]
["外壁材撤去","セメント系サイディング　t=15",null,238,238,".","--","㎡"]
["アスファルトフェルト剥ぎ取り撤去",null,null,238,238,".","--","㎡"]
["土台水切り撤去","カラー鉄板包み　t=0.4",null,82.1,82,".",1,"m"]
["（軒天）",null,null,null,"","",""]
["石綿セメント板撤去","t=5.0、アスベスト含有建材",null,49.6,49,".",6,"㎡",null,null,"レベル３の養生、作業衣等含む"]
["（その他）",null,null,null,"","",""]
["支障木枝払い",null,null,1,1,".","--","式"]
[null,null,null,null,"","",""]
[null,null,null,null,{"$f":"IF(D69=\"\",\"\",TRUNC(D69,0))","v":""},"",{"$f":"IF(D69=\"\",\"\",IF(D69>=100,\"--\",IF(OR(H69=\"式\",H69=\"ヶ所\",H69=\"個\",H69=\"枚\",H69=\"日\",H69=\"本\",H69=\"台\",H69=\"ｍ\",H69=\"組\",H69=\"基\",H69=\"面\",H69=\"箇所\"),\"--\",ROUND((D69-E69)*10,0))))","v":""}]
[null,null,null,null,"",null,""]
[null,null,null,null,"",null,""]
[null,null,null,null,"",null,""]
[null,null,null,null,"",null,""]
[null,null,null,null,"",null,""]
[null,null,null,null,"",null,""]
[null,null,null,null,"",null,""]
[null,null,null,null,"",null,""]
["２－計",null,null,null,"",null,""]
["３　屋根改修工事","仕　　訳",null,null,"","",""]
["（屋根カバー工法）　遊戯室",null,null,null,"","",""]
["ガルバリウム鋼板","t=0.4　",null,181,181,".","--","㎡"]
["アスファルトルーフィング940",null,null,181,181,".","--","㎡"]
["棟押さえ","ガルバリウムカラー鋼板　t=0.4",null,10.9,10,".",9,"m"]
["唐草包み","〃",null,55.1,55,".",1,"m"]
["破風板包み","〃",null,55.1,55,".",1,"m"]
["既存軒先切断",null,null,55.1,55,".",1,"m"]
["（屋根葺替え）　その他",null,null,null,"","",""]
["ガルバリウム鋼板　横葺き","t=0.4　",null,56.2,56,".",2,"㎡"]
["ガルバリウム鋼板　立平葺き","t=0.4　",null,165,165,".","--","㎡"]
["アスファルトルーフィング940",null,null,221.2,221,".","--","㎡"]
["唐草包み","ガルバリウムカラー鋼板　t=0.4",null,57.1,57,".",1,"m"]
["棟押さえ","〃",null,6.3,6,".",3,"m"]
["破風板包み","〃",null,57.1,57,".",1.0000000000000142,"m"]
["谷納め","ガルバリウムカラー鋼板　t=0.4",null,11.2,11,".",1.9999999999999929,"m"]
["雨押さえ","〃",null,32,32,".",0,"m",null,null,"木下地共"]
["軒樋","塩ビ製　半丸105　金具共",null,10.199999999999999,10,".",1.9999999999999929,"m"]
["縦樋","塩ビ製　φ60　金具共",null,7.4,7,".",4.0000000000000036,"m"]
["雪止め","富士型",null,9,9,".","--","箇所"]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
["３ －計",null,null,null,"","",""]
["４　外壁改修工事",null,null,null,"","",""]
["（外壁）",null,null,null,"","",""]
["窯業系サイディング張り　横張り","通気金具留め工法　t=16",null,238,238,".","--","㎡",null,null,"ﾆﾁﾊ　ﾓｴﾝｴｸｾﾗｰﾄﾞ16\nﾃﾞｨｽﾀｼｬｲﾄﾞV　同等品"]
["同質出隅","〃",null,75,75,".",0,"m"]
["副資材費","ハットジョイナー等",null,238,238,".","--","㎡"]
["透湿防水シート張り",null,null,238,238,".","--","㎡"]
["シーリング","MS-2　10×10",null,515,515,".","--","m"]
["土台水切り","ガルバリウムカラー鋼板　t=0.4",null,82.1,82,".",0.99999999999994316,"m",null,null,"ﾆﾁﾊ ｶﾞﾙﾊﾞﾘｳﾑ鋼板\n土台水切50同等品"]
["窓周り額縁","木下地30×30\nガルバリウムカラー鋼板包み　t=0.4",null,27.5,27,".",5,"m"]
["床下換気口","450×150程度　\n樹脂製スライドタイプ",null,2,2,".","--","箇所",null,null,"モルタル斫り、補修共"]
["（軒天）",null,null,null,"","",""]
["ケイ酸カルシウム板張り","t=6.0　目透かし　一部有孔板",null,49.6,49,".",6.0000000000000142,"㎡"]
["入隅見切り材","塩ビ製　コ型",null,65.5,65,".",5,"m"]
[null,null,null,null,""]
["４ －計",null,null,null,"","",""]
["５　鉄骨工事","仕　　訳",null,null,"","",""]
["鉄骨ブレース交換","L-6×65×65　PL9.0t\nHTB共",null,2,2,"","--","ヶ所"]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,{"$f":"IF(D133=\"\",\"\",TRUNC(D133,0))","v":""},"",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
["5ー計",null,null,null,"","",""]
["６　塗装改修工事",null,null,null,"","",""]
["軒天EP塗装","下地処理共　RB種2回",null,49.6,49,"．",6,"㎡"]
["鉄骨ブレースフッ素樹脂塗装","エポキシ錆び止め２回\n仕上げフッ素2回　下地処理共",null,40,40,"．",0,"m"]
["額縁フッ素樹脂塗装","風除室内　ドア枠",null,17,17,"．",0,"m"]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
["６ －計",null,null,null,"","",""]
["７　その他工事","仕　　訳",null,null,"","",""]
["館名板撤去・新設","15㎝角×8文字　\nSUSチャンネル文字",null,1,1,"","--","式"]
["海抜表示板一時撤去・再設置",null,null,1,1,"","--","ヶ所"]
["表示板一時撤去・再設置",null,null,1,1,"","--","ヶ所"]
["郵便ポスト一時撤去・再設置",null,null,1,1,"","--","ヶ所"]
["ガラスフィルム貼り","内貼り",null,3,3,"","--","ヶ所"]
["ガラスクリーニング","片面　GB含む",null,127.35854999999999,127,"","--","㎡"]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
["７－計",null,null,null,"","",""]
["８　機械設備工事",null,null,null,"","",""]
["（給排水設備）",null,null,null,"","",""]
["水栓柱撤去再設置","13A",null,1,1,"","--","箇所"]
["通気金物","50A,SUS製,指定色塗装\n防虫網付",null,1,1,"","--","個",null,null,"材工共"]
["掘削","人力",null,0.1,0,"．",1,"m3"]
["埋戻","人力、掘削土",null,0.1,0,"．",1,"m3"]
["通気金物撤去",null,null,1,1,"","--","式"]
["（空気調和設備）",null,null,null,"","",""]
["ヒートポンプ式空調機\n撤去再設置","冷媒種：R32　冷房能力：2.8kW\n室外機　高置架台共",null,1,1,"","--","台",null,null,"EHP-1"]
["ヒートポンプ式空調機\n撤去再設置","冷媒種：R32　冷房能力：5.6kW\n室外機　高置架台共",null,1,1,"","--","台",null,null,"EHP-2"]
["冷媒引抜作業費",null,null,1,1,"","--","式"]
["配管取外再取付","冷媒管",null,2,2,"","--","箇所"]
["配管化粧カバー撤去更新","SD-100",null,4,4,"．",0,"m",null,null,"材工共"]
["試運転調整費",null,null,2,2,"","--","台"]
["（暖房設備）",null,null,null,"","",""]
["給排気筒","φ50",null,1,1,"","--","個",null,null,"材工共\nFF-3"]
["給排気筒","φ35",null,3,3,"","--","個",null,null,"材工共\nFF-1,2"]
["給排気筒保護ガード",null,null,4,4,"","--","個",null,null,"材工共\nFF-1,2,3"]
["給排気筒撤去","保護ガード含む",null,1,1,"","--","式"]
["（換気設備）",null,null,null,"","",""]
["丸型フード","φ150,SUS製,指定色塗装\n防虫網付",null,4,4,"","--","個",null,null,"材工共\nVF-3,4"]
["丸型フード","φ100,SUS製,指定色塗装\n防虫網付",null,3,3,"","--","個",null,null,"材工共\nVF-1,2"]
["換気設備撤去費","丸型フード",null,1,1,"","--","式"]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,{"$f":"IF(D197=\"\",\"\",TRUNC(D197,0))","v":""},"",""]
["８－計",null,null,null,"","",""]
["９　都市ガス設備工事",null,null,null,"","",""]
["(1)基本工事費","現場出張、試験・検査費",null,1,1,"","--","式"]
["小計(1)",null,null,null,"","",""]
[null,null,null,null,"","",""]
["(2)配管工事費",null,null,null,"","",""]
["塩化ビニル被覆鋼管","25A",null,7,7,"．",0,"m"]
["都市ガス用ポリエチレン管","25A",null,1,1,"．",0,"m"]
["ガス管撤去","25A",null,4,4,"．",0,"m"]
["ガス管撤去","40A",null,1.5,1,"．",5,"m"]
["ガス管撤去","50A",null,2.5,2,"．",5,"m"]
["小計(2)",null,null,null,"","",""]
[null,null,null,null,"","",""]
["(3)ガス栓工事費",null,null,null,"","",""]
["メーターガス栓","25A",null,2,2,"","--","ヶ"]
["小計(3)",null,null,null,"","",""]
["(4)ガスメーター工事費",null,null,null,"","",""]
["ガスメーター設置","6m3/h以下",null,2,2,"","--","台"]
["ガスメーター撤去","6m3/h以下",null,2,2,"","--","台"]
["メーターボックス取外","16m3/h以下",null,2,2,"","--","台"]
["小計(4)",null,null,null,"","",""]
[null,null,null,null,"","",""]
["(5)特別工事費",null,null,null,"","",""]
["埋設切断取出し","鋼管",null,1,1,"","--","式"]
["小計(5)",null,null,null,"","",""]
[null,null,null,null,"","",""]
["(6)付帯工事費",null,null,null,"","",""]
["支持金具工事費",null,null,1,1,"","--","式"]
["小計(6)",null,null,null,"","",""]
[null,null,null,null,""]
["(7)共通仮設費",null,null,1,1,"","--","式"]
["(8)現場共通管理費",null,null,1,1,"","--","式"]
["(9)諸経費",null,null,1,1,"","--","式"]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
["９－計",null,null,null,""]
["１０　電気設備工事",null,null,null,"","",""]
["電線管","PF22　いんぺい",null,2,2,".",0,"ｍ"]
["電線","EM-IE1.6　PF",null,4,4,".",0,"ｍ"]
["電線","EM-IE1.6　天井",null,8,8,".",0,"ｍ"]
["ケーブル","EM-EEF　1.6ｰ3C　PF",null,13,13,".",0,"ｍ"]
["ケーブル","EM-EEF　1.6ｰ3C　天井",null,13,13,".",0,"ｍ"]
["スイッチ","防水　1P15A×1　B共",null,1,1,".","--","個"]
["照明器具A","ブラケット　防水型",null,3,3,".","--","個"]
["照明器具B","LED防犯灯",null,2,2,".","--","個"]
["既設分電盤改修費","ELCB　2P　30AF/　20AT×1　新設",null,1,1,".","--","式"]
["機器等取外し再取付費","照明器具、ケーブル",null,1,1,".","--","式"]
["撤去費",null,null,1,1,".","--","式"]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
["１０ －計",null,null,null,"","",""]
["１１　発生材処分費","仕　　訳",null,null,"","",""]
["解体材積込費","がれき類（外壁材等）",null,3.9,3,"．",9,"㎥"]
["　　〃","金属類",null,0.1056,{"$f":"IF(D261=\"\",\"\",TRUNC(D261,0))","v":0},"．",1,"㎥"]
["　　〃","廃プラ類",null,0.1,0,"．",1,"㎥"]
["　　〃","樹木類",null,3.7,3,"．",7,"㎥"]
["　　〃","石綿含有健材",null,0.4,0,"．",4,"㎥"]
["解体材運搬費","がれき類（外壁材等）",null,3.9,3,"．",9,"㎥"]
["　　〃","金属類",null,0.13,0,"．",1,"㎥"]
["　　〃","廃プラ類",null,0.1,0,"．",1,"㎥"]
["　　〃","樹木類",null,3.7,3,"．",7,"㎥"]
["　　〃","石綿含有健材",null,0.4,0,"．",4,"㎥"]
["解体材処分費","がれき類（外壁材等）",null,4.29,4,"．",3,"t"]
["　　〃","廃プラ類",null,4,4,"","--","㎏"]
["　　〃","樹木類",null,1,1,"","--","台",null,null,"4tダンプ程度"]
["　　〃","石綿含有健材",null,1,1,"","--","式"]
["有価物（スクラップ）","金属類",null,1.050576,1,"．",1,"t"]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,"","",""]
["１１－計",null,null,null,"","",""]
["Ⅱ．共通仮設費","内訳明細",null,null,"","",""]
["共通仮設費",null,null,1,1,".","--","式"]
["　　安全費","Ａ型バリケード　3ヶ月程度",null,20,20,".",0,"m"]
["　〃","仮囲い鉄板　H=2,000\n仮設資材置場付近、通路側付近",null,30,30,".",0,"m"]
["　〃","交通誘導員　搬出入時",null,3,3,".",0,"日・人"]
["荷揚げ費","ラフテレーンクレーン16t吊り程度",null,1,1,".","--","式"]
[null,null,null,null,""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
["Ⅱ－計",null,null,null,"","",""]
["Ⅴ．各種負担金等","内訳明細",null,null,""]
["　　産廃税相当額",null,null,6.9580000000000002,{"$f":"IF(D305=\"\",\"\",TRUNC(D305,1))","v":6.9},".",0,"ｔ"]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
[null,null,null,null,"","",""]
["Ⅴ－計",null,null,null,"","",""]